## Slide 1: Seismic Infrastructure in Portugal
Fernando Carrilho
ORFEUS/EPOS Workshop
25 – 27 October 2017, Lisbon, Portugal

## Slide 2: Azores-Madeira-Mainland Seismicity
1961-2016
Azores
Madeira

## Slide 3: Upgraded network
Developments:
  Quality data acquisition in highly sensitive stations which are also equipped with strong-motion sensors
  Higher quality digital transmission
  Real time monitoring at the Operational Center
  Automatic signal detection
  Automatic association of detections, event location and magnitude evaluation
  Development of a rapid earthquake information system for Civilian Protection authorities
  Automatic archive of recorded data
  Development of high-level products (bulletins, shakemaps, regional moment tensor, etc.)‏
  Contribute to international monitoring efforts (FDSN, ORFEUS, tsunami projects [NEAMTWS])‏
  Data for scientific research purposes

## Slide 4: IPMA Broadband Network 27 stations

## Slide 5: Extended Regional Broadband Network 62 stations

## Slide 6: Strong Motion Network 66 stations

## Slide 7: The Regional Network 117 stations

## Slide 8: Seismic stations
Sensors
Digitisers/Dataloggers
Guralp CMG-3T (120sec)
Guralp CMG-3ESPc (120sec)
Streckeisen STS-2 (120sec)
Lennartz LE3D20 (20sec)
Lennartz LE3D5 (5sec)
Lennartz LE3D1 (1 Hz)
Guralp CMG5T
Kinemetrics Episensor
Nanometrics TITAN
Guralp DM24
Guralp EAM6
Nanometrics CENTAUR
Geosig GSD24
Geosig GMS+
Mars88 (Obsolet)
Alpha2000
Alix1D
Communication
VSAT
DSL
GPRS

## Slide 9: Seismic stations
PVAQ (Vaqueiros)‏

## Slide 10: Seedlink flow
TREMOR
Archive
(storage area network)‏
NRT processing
(autopick & autoloc & SOH)‏
Automatic& Manual Analysis
(SEISAN)‏
IPMA LAN
ODC
DMC
IGN
imslserver
IPMA DMZ's
IPMA firewall
GFZ
partners
CEA
IPMA firewall
mplsserver
Check&
register
(data_extract)
Internet
71 stations
VSAT
23 stations
VPN’s over Internet
17 stations
MPLS
6 stations

## Slide 11
Real-Time Seismic Monitoring

## Slide 12
SeiscomP3 – Global Seismic Monitoring
S
        Fast locations
        MW Fast evaluation

## Slide 13
Quality Control
Latency/State of Health

## Slide 14
Quality Control
Latency & State of Health

## Slide 15
Quality control – Seismic noise

## Slide 16
Quality control – Seismic noise

## Slide 17
Automatic Detection & Location
AutoPick
(SeiscomP3)
STA/LTA
[Single Band Trigger]
(Event forming)
P Picks Association
AutoPic
(SEISAN & InHouse Softw)
STA/LTA
[Multi Band Trigger]
P Picks Association
(event forming)
repicking
Seiscomp3 level
P / PKP /
Amplitudes
Location
(LOCSAT)
&
Magnitudes
ML,Mb,Mw,MB
Real Time
Waveform
Data
P/Pn/Pg/S/Sn/Sg
AML,PGA,PGV
Location
(HYPOCENT)
&
Magnitude ML
Data_Extract & SEISAN level

## Slide 18
Fast Seismic Warnings
Email
SMS
Radio
Fax
Telefone
Civil
Protection

## Slide 19
Regional Moment Tensor Inversion

## Slide 20
Regional Moment Tensor Inversion

## Slide 21
Shakemaps
VS30
Observations and Peak ground attenuation laws

## Slide 22
Shakemaps

## Slide 23
Join EIDA network
Azores, Madeira and PT Mainland region
38 Broadband
24 Short-period
32 Strong-motion
[+ 24 co-located]
(94 stations)

## Slide 24: THANK YOU!